## 논문정보
Volume | Issue | Title Kor | Title Else | Title Eng | Start page | End page | Language | Abstract Kor | Abstract Else | Abstract Eng | Keywords | Keywords Else | Keywords Eng | DOI | Received Date | Revised Date | Accepted Date | Publication Date | Viewed | Downloaded | Author
24 | 1 | GC-NCI-MS/MS를 이용한 모발 중 대마 대사체 분석의 측정불확도 평가 |  | Uncertainty evaluation of the analysis of 11-nor-9-carboxy-Δ^9-tetrahydrocannabinol in hair by GC-NCI-MS/MS | 1 | 9 | ko | 대마 흡연 여부 확인을 위해 사용되는 모발 중 대마 대사체 정량분석 결과의 측정불확도를 평가하였다. 대마초 성분 중 활성물질은 Δ^9-tetrahydrocannabinol이며 대사과정을 거쳐 생성된 주요 대사체는 11-nor-9-carboxy-Δ^9-tetrahydrocannabinol (THC-COOH)이다. 따라서 생체 대사물질인 THC-COOH는 대마 흡연 여부를 판단하는 지표물질로 사용되고 있다. 실험방법은 모발의 세척, 건조, 질량측정, 세절, 가수분해, 비드를 이용한 액체-액체 추출, 유도체화 반응 및 기기분석 과정으로 구성되었다. 측정의 소급성이유지될 수 있도록 상위 규정기로부터 하위 측정기까지 교정을 통해 확보하였다. 측정불확도 평가에 앞서정량분석시 측정값에 영향을 주는 인자들을 찾아내고 각각의 요소들이 측정결과에 어떤 영향을 주는가를 살펴보았다. 산출 결과, 재현성, 회수율, 검정곡선, 표준물질, 질량측정의 요소 순으로 불확도에 영향을 미치고 있음을 확인하였고 재현성의 요소가 측정불확도에 가장 큰 영향을 미치고 있었다. 실제 대마복용자의 모발을 분석한 결과 대마 대사체 농도 측정값에 대한 오차 범위의 상대불확도는 17% 이였으며, 본 연구의 측정불확도 평가 결과는 향후 분석방법의 개선 및 측정결과의 신뢰도 제고를 위한 근거자료로 활용할 예정이다. |  | We described an estimation of measurement uncertainty in quantitative analysis of 11-nor-9-carboxy-Δ^9-tetrahydrocannabinol (THC-COOH), the metabolite of Δ^9-tetrahydrocannabinol, in hair samples by using the bead-assisted liquid-liquid extraction and gas chromatography-tandem mass spectrometric (GC-NCI-MS/MS)detection. Traceability of measurement was established through the use of reference materials, calibrated volumetric tubes, volume measuring devices, and measuring instruments. The analytical results were compared and the different contributions to the uncertainty were evaluated. Inter-day variation was performed by using statistical analysis of several indicative factors. Measurement uncertainty associated with the analyte in real forensic hair samples were estimated using QC data. The major factor of contribution to combined standard uncertainty was inter-day repeatability, while those associated with preparation of analytical standard and also sample of weight were insignificant considering the degree of contribution. Relative uncertainty of relative extended standard uncertainty divided into the measured concentration of the analyte was 17% in a hair sample. The uncertainty of result evaluation will be invaluable to improve quality of the analysis. | Measurement uncertainty,hair analysis,11-nor-9-carboxy-Δ^9-tetrahydrocannabinol,GC-NCI-MS/MS |  | Measurement uncertainty , hair analysis , 11-nor-9-carboxy-<TEX>${\Delta}^9$</TEX>-tetrahydrocannabinol , GC-NCI-MS/MS , | 10.5806/AST.2011.24.1.001 |  |  |  | 20110201 | 320 | 113 | 김진영;(대검찰청 마약감식실/),이재일;(대검찰철 마약감식실/),정재철;(대검찰청 마약감식실/),서용준;(대검찰철 마약감식실/),인문교;(대검찰철 마약감식실/)
24 | 1 | 먹는 샘물 및 지하수 원수 중 bromide 분석연구 |  | Determination of bromide in bottled mineral water and ground water in Korea | 10 | 14 | ko | 먹는 물 중 bromide의 국내·외 시험방법에 대한 분석 조건을 비교하여 최적 시험조건을 확인하고 ion chromatograph-suppressed conductivity detector (IC-CD)를 사용하여 먹는 샘물 및 지하수원수 중 bromide 함량을 분석하였다. 지하수 원수 중 bromide농도와 먹는 샘물 중 bromide 및 bromate 의 농도 합과의 상관관계를 조사하였다. 시료 전처리를 위해 먹는 샘물 20 mL를 온가드 Ba-, H-카트리지 순서대로 통과시키고 마지막에 0.2 μm 맴브레인 필터로 여과 하였다. 여과한 시료는 IC-CD 에 주입하였으며, 시료 중 bromide는 10~50 mM의 수산화이온용액 이동상에 적합한 가드 및 분석용컬럼인 AG 19 및 AS 19에 의해 분리하였다. Bromide의 검정 곡선은 0.5~80 μg/L의 농도 범위에서r^2값이 0.9993으로 좋은 직선성을 보였으며, 검출한계(MDL) 및 정량한계(LOQ)는 각각 0.2, 0.5 μg/L이었다. 실제 먹는 샘물 23 개와 먹는 샘물 공장의 지하수 원수 75 개의 시료 중 bromide를 분석한 결과, 각각 평균농도는 14.7 μg/L, 20.4 μg/L이었다. 지하수 원수 중 bromide농도와 먹는 샘물 중 bromide 및 bromate의 농도 합과의 상관계수(r)는 0.808이었다. |  | This study was performed to compare international analytical methods of bromide and applied to determine bromide in bottled mineral water and raw ground water in Korea. Bromide in water was eluted by 10~50 mM potassium hydroxide (KOH) and determined by ion chromatography-suppressed conductivity detector (IC-CD). Sample was purified with Ba- and H-on-guard cartridge and 0.2 μm membrane filter. The method detection limit (MDL) and the limit of quantitation (LOQ) of bromide were 0.2 and 0.5 μg/L, respectively. The calibration curve showed good lineality above 0.9993 in the ranges of the 0.5~80 μg/L. A correlation coefficient of bromide in ground water and sum of bromide and bromate in bottled mineral water is 0.808. | bromide,IC-CD,bottled mineral water,ground water |  | bromide , IC-CD , bottled mineral water , ground water , | 10.5806/AST.2011.24.1.010 |  |  |  | 20110201 | 161 | 39 | 안혜실;(국립환경과학원/),권오상;(국립환경과학원/),서경애;(국립환경과학원/),이준배;(국립환경과학원/),김태승;(국립환경과학원/),한진석;(국립환경과학원/)
24 | 1 | Accurate mass 및 isotope ratio 측정을 위한 GC-TOF 질량분석기에서의 화학적 이온화방법 |  | Development of chemical ionization method in a GC-TOF mass spectrometer for accurate mass and isotope ratio measurement | 15 | 23 | ko | 본 연구에서는 미지 대사물질 동정을 위해 GC-TOF/MS의 양이온 화학적 이온화 방법(positive chemical ionization, CI+)을 이용, 정확한 질량 값(accurate mass)과 동위원소 비(isotope ratio) 측정을 위한최적 조건을 확립하였다. 분자이온 [M+H]^+ 세기를 증가시킬 수 있는 high mass tune 방법이 사용되었으며, 화합물들의 분리 및 감도에 따른 검출조건이 고려되어 졌다. 24종의 trimethylsilyl (TMS)기로 유도체화 된 표준 대사물질들을 분석한 결과 [M+H]^+의 경우 이론 값 과의 절대평균오차는 6.8 ppm이였으며,동위원소 비(M+1/M, M+2/M)의 경우는 각각 1.5%와 1.7%였다. 얻어진 질량 값과 동위원소 비를 원소조성 알고리즘에 적용한 결과 21개의 화합물의 구조식이 2순위 내에서 일치하였다. |  | An accurate mass and isotope ratio were determined using a gas chromatography/time of flight mass spectrometer in CI positive mode for the identification of unknown metabolites. High mass tune was used to improve the ion intensity of [M+H]^+. Chromatographic resolution and dynamic range enhancement were performed to obtain more reliable accurate masses and correct isotope abundance ratios. Average absolute errors of mass and isotope ratios for 24 reference metabolite -TMS (trimethylsilyl) derivatives were 6.8 ppm, 1.5%of (M+1/M ratio) and 1.7% of (M+2/M ratio), respectively. The correct formulas of twenty one compound were retrieved within top-2 hit from the heuristic algorithm for elemental composition using each accurate mass and isotope abundance ratio. | accurate mass,isotope ratio,GC-TOF/MS,positive CI,metabolites |  | accurate mass , isotope ratio , GC-TOF/MS , positive CI , metabolites , | 10.5806/AST.2011.24.1.015 |  |  |  | 20110201 | 216 | 76 | 정주희;(한국기초과학지원연구원/),안윤경;(한국기초과학지원연구원/),나윤철;(한국기초과학지원연구원/),황금숙;(한국기초과학지원연구원/),신정화;(한국기초과학지원연구원/)
24 | 1 | 제주도 해안과 산간 지역 대기 에어러솔의 이온조성 비교 |  | Ionic composition comparison of atmospheric aerosols at coastal and mountainous sites of jeju island | 24 | 37 | ko | 해안에 위치한 제주도 고산 지역과 산간의 한라산 1100고지 지역에서 대기에어러솔을 채취, 분석한 결과로부터 해안과 산간 지역 대기에어러솔의 이온조성 및 특성을 비교하였다. 이온성분의 농도는한라산 1100고지보다 고산지역에서 더 높고, 월별로는 NH_4^+, nss-SO_4^(2−)(비해염 황산)이 6월에 두 지역에서 동시에 높은 농도를 나타내었다. 토양기원의 nss-Ca^(2+)(비해염 칼슘)은 인위적 기원의 NO_3과 상관성이비교적 크며 봄철에 높은 농도를 나타내었다. 두 지역에서 각 이온들의 시계열 변화를 비교하고 회귀분석을 통해 성분들 간의 상관성을 조사해 본 결과, TSP(총부유분진)의 이온성분은 고산지역에서 해염입자의 영향을 크게 받는 것으로 나타났다. 그리고 nss-SO_4^(2−), NH_4^+, nss-Ca^(2+), K^+, NO_3^−의 농도는 국지오염원보다는 장거리 이동한 대기오염물질의 영향을 많이 받는 것으로 조사되었다. |  | The ionic compositions of atmospheric aerosols were investigated and characterized in coastal and mountainous sites of Jeju Island, which were Gosan and Mt. Halla-1100 sites respectively. It was found that the concentrations of nss-SO_4^(2−) (non-sea salt sulfate) and NH_4^+ at two measurement sites were almost similar and they showed high concentrations in June at the same time. The concentration of soil-originated nss-Ca^(2+)(non-sea salt calcium) was generally associated with that of anthropogenic NO_3^− and its concentration was increased during spring season. From the comparison of time-series variation and regression analysis of ionic species between two measurement sites, TSP (total suspended particulate) in Gosan site was directly influenced by sea salt particles and the concentration levels of nss-SO_4^(2−), NH_4^+, nss-Ca^(2+), K^+, and NO_3^− were mainly related with long-range transported air pollutants rather than local pollution sources. | atmospheric aerosol,TSP (total suspended particulate),ionic composition,Gosan site,Mt. Halla-1100 site,Jeju Island |  | atmospheric aerosol , TSP (total suspended particulate) , ionic composition , Gosan site , Mt , Halla-1100 site , Jeju Island , | 10.5806/AST.2011.24.1.024 |  |  |  | 20110201 | 209 | 56 | 홍상범;(극지연구소/),강창희;(제주대학교/),정덕상;(제주대학교/),이순봉;(제주대학교/),이동은;(제주대학교/),신승희;(제주대학교/)
24 | 1 | 전탕용수의 종류에 따른 대황 성분의 추출효과 |  | Effects of the decoction water on the extraction of the bioactive compounds from rhubarb | 38 | 44 | ko | 본 연구는 제주지역에서 생산되는 세 종류의 물과 서울지역에서 사용되고 있는 수돗물 등 네 종류의 물을 전탕용수로 하여 중요 한약재인 대황으로부터 활성성분을 추출하고 용수 중의 미네랄이 대황활성성분 추출에 미치는 효과에 대하여 비교 분석하였다. 유도결합플라즈마방출분광기와 유도결합플라즈마질량분석기를 이용하여 30여종의 미네랄과 다수의 음이온을 분석하였다. 각 전탕용수로 대황을 추출하고 그 추출액의 일부를 증발시켜 총 추출량을 구하고, 또한 HPLC를 이용하여 추출액으로부터 대황의 생리활성 성분을 분석하였다. 용수 간 총 추출량과 대황 성분함량의 차이 검정을 위하여 Kruskal-Wallis 검정을 시행하였고, 미네랄, 음이온, 총 추출량 및 성분함량과의 관계분석을 위하여 다중요인분석을 시행하였다. 분석결과 용수 중의 미네랄 함량은 대황의 총 추출량 및 성분 추출량과 높은 상관관계가 있는것으로 나타났다. |  | The quality of decoction water would be important for the preparation of herbal medicines. Four types of decoction water, S1, S2, S3 and S4, three types of mineral water from Jeju island and one type of tap water from Seoul region were evaluated. The contents of minerals in decoction water were analysed by ICP-AES and ICP-MS. There was significant difference in the mineral contents between the types of decoction water. The bioactive components from rhubarb were extracted with four types of water and the relationship between mineral contents in water and the extracted amounts of components was evaluated. The total extraction was calculated by evaporating water and weighing the residue. The bioactive components in rhubarb were determined by HPLC method. Kruskall-Wallis rank sum tests were used. Multiple factor analysis was used to analyze the relation between the contents of mineral and total extraction or bioactive components in the decocted solutions. Not only the total extraction but also the amount of extracted bioactive components showed statistically significant relationship with the contents of minerals and anions in decoction water. | decoction water,rhubarb,total extraction,mineral content,multiple factor analysis |  | decoction water , rhubarb , total extraction , mineral content , multiple factor analysis , | 10.5806/AST.2011.24.1.038 |  |  |  | 20110201 | 244 | 49 | 장유선;(충남대학교/),강종성;(충남대학교/),주반멘;(충남대학교/),이관준;(충남대학교/),서은영;(신약전문대학원/),김동희;(대전대학교/)
24 | 1 | 합성가죽에서의 잠재지문 현출 |  | A study on characteristics of latent fingerprint detection on vinyl leather | 45 | 50 | ko | 현장조사 시 증거물을 찾는 방법은 육안관찰과 과학수사장비를 활용하게 된다. 감정에 활용되고있는 현장 증거물은 혈액, 정액, 타액, 모발, 지문, 섬유, 토양, 페인트 등 그 종류는 매우 다양하며 그 중지문은 현장 감식을 통하여 직접 현출하여 신속하게 개인을 식별 할 수 있다. 본 연구에서는 일상에서많이 접할 수 있으면서도 선택적 현출 방법이 필요한 가죽류 지갑, 혁대, 쇼파 등에 대하여 다양한 현출방법을 이용 검토 한 결과 다양한 가죽의 현출방법으로 자석형광분말법 및 형광분말법을 이용한 잠재지문 현출방법이 효율적인 것으로 확인하였다. |  | While the crime scene investigation, evidences are found to search with the naked eyes and to use science equipments. Crime evidences, which are used as judgement, have various things: blood, sperm, saliva,hair, fingerprint, fiber, soil, paint, and so on, especially, fingerprints could take through crime scene investigation,and in there, it could distinguish individually. In this case study, sort of leathers: a wallet, a belt, and a sofa,which are needed special identification even thought people experience easily in usual day, are tried many of the identification tests. As a result, using fluorescent magnetic powder method or fluorescent powder method as identification of many leathers is most efficient. | latent fingerprint,powder,vinyl leather |  | latent fingerprint , powder , vinyl leather , | 10.5806/AST.2011.24.1.045 |  |  |  | 20110201 | 391 | 159 | 최용복;(충남대학교/),박성우;(충남대학교/)
24 | 1 | 총기 흔적흔에서의 low copy number(LCN) DNA 검출에 관한 연구 |  | Research on the detection of LCN DNA from traces on firearms | 51 | 59 | ko | 유전자 감식은 다양한 범죄현장에서 발견되는 생체시료의 분석을 통해 신원을 식별하는 중요한법과학적 수사과정으로 자리 잡았다. 최근에는 범인이 사용했던 펜, 뺑소니 차량에서의 핸들, 기어, 각종버튼스위치 등에 남겨져 있는 touch evidence-type sample로 알려져 있는 low copy number (LCN) DNA 에서의 A-STR분석을 위해 의뢰되는 감정물들이 증가하는 추세에 있다. 본 연구에서는 총기의 뭉개진 지문 등에 남겨져 있는 touch evidence-type의 LCN DNA를 추출하고 유전자형의 분석 성공률을 확인하고자 하였다. 4종류의 총기(M16, K1A, COLT 45 권총, M29 리볼버)를 각각 격발한 후 총기별로 4곳의 부위에서 시료를 채취한 다음 LCN DNA의 추출을 위해 Microkit과 Prepfiler^(TM) 등 2종류의 시약을 이용하여 DNA 검출량과 유전자형 분석 성공률을 비교 분석하였다. 분석결과 Prepfiler^(TM) 가 Microkit에 비해 평균 1.7배 DNA검출량이 많았으며, 유전자형 분석 성공률에 있어서도 Microkit은 0%인데 비해 Prepfiler^(TM)에서는 평균 24.9%의 성공률을 보였으며, K1A의 손잡이 부위에서 50.6%의 성공률을 나타냈다. |  | Genetic Identification has become an important forensic investigation method which discerns identity through analysis of physical samples discovered in various crime scenes. Recently more samples are being requested to undergo A-STR analysis of low copy number (LCN) DNA, which is known as touch evidence-type sample and left on various objects such as a pen briefly used by the criminal, the gear of the car used for driving, the handle, and various buttons inside a car. This research attempted to extract the LCN DNA of the touch evidencetype left on crushed fingerprints on firearms, etc. and examine the genotyping success rate. Four types of firearms (M16, K1A, COLT 45 Pistol, M29 Revolver) were fired individually and physical samples were gathered from four parts of each firearm. Subsequently, in order to extract the LCN DNA, Microkit and PrepfilerTM were used to compare and analyze the quantity of DNA extracted and the genotyping success rate. Analysis results showed that the quantity of DNA extracted by Prepfiler^(TM) was on average 1.7 times higher than that of Microkit, and in genotype analysis success rate Prepfiler^(TM) also demonstrated 24.9% on average in contrast to 0% for Microkit. In regards to the grip part of the K1A, Prepfiler^(TM)’s success rate was as high as 50.6%. | LCN DNA,short tandem repeat,genotyping success rate |  | LCN DNA , short tandem repeat , genotyping success rate , | 10.5806/AST.2011.24.1.051 |  |  |  | 20110201 | 300 | 115 | 전충현;(충남대학교/),박성우;(충남대학교/)